## AlgaeGrowth
Source Name | Factor [Biological replicate] | Term Source REF (NFDI4PSO:0000042) | Term Accession Number (NFDI4PSO:0000042) | Characteristics [Organism] | Term Source REF (NFDI4PSO:0000030) | Term Accession Number (NFDI4PSO:0000030) | Characteristics [environmental condition] | Term Source REF (ENVO:01000203) | Term Accession Number (ENVO:01000203) | Characteristics [light intensity exposure] | Unit (#6) | Term Source REF (PECO:0007224) | Term Accession Number (PECO:0007224) | Characteristics [growth phase culture#2] | Term Source REF (#2) | Term Accession Number (#2) | Parameter [estimated cell division rate#3] | Unit (#10) | Term Source REF (#3) | Term Accession Number (#3) | Parameter [sodium chloride] | Unit (#11) | Term Source REF (CHEBI:26710) | Term Accession Number (CHEBI:26710) | Characteristics [temperature environment exposure] | Unit (#7) | Term Source REF (PECO:0007175) | Term Accession Number (PECO:0007175) | Characteristics [incubator shaker] | Unit (#8) | Term Source REF (OBI:0001076) | Term Accession Number (OBI:0001076) | Characteristics [regular duration] | Unit (#9) | Term Source REF (PATO:0001416) | Term Accession Number (PATO:0001416) | Characteristics [Strain] | Term Source REF (NFDI4PSO:1000146) | Term Accession Number (NFDI4PSO:1000146) | Characteristics [plant growth medium exposure] | Term Source REF (PECO:0007147) | Term Accession Number (PECO:0007147) | Characteristics [cell concentration unit] | Unit | Term Source REF (UO:0000200) | Term Accession Number (UO:0000200) | Characteristics [plant cell size] | Unit (#2) | Term Source REF (TO:0002684) | Term Accession Number (TO:0002684) | Characteristics [cell volume] | Unit (#3) | Term Source REF () | Term Accession Number () | Characteristics [chlorophyll content] | Unit (#4) | Term Source REF (TO:0000495) | Term Accession Number (TO:0000495) | Characteristics [protein content] | Unit (#5) | Term Source REF (TO:0000598) | Term Accession Number (TO:0000598) | Sample Name
CL1 | 1 | user-specific | user-specific | Chlamydomonas reinhardtii | user-specific | user-specific | Control Type | NFDI4PSO | http://purl.obolibrary.org/obo/NFDI4PSO_1000111 | 100 |  |  |  | logarithmic phase culture |  |  | 0.105 |  |  |  | 0 |  |  |  | 24 |  |  |  | 2 |  |  |  | 48 |  |  |  | CC-1690 |  |  | Tris-Acetate-Phosphate | user-specific | user-specific | 3417000 |  |  |  | 6.897 |  |  |  | 192.7 |  |  |  | 0.01283 |  |  |  | 0.14866 |  |  |  | cCL1
CL2 | 2 | user-specific | user-specific | Chlamydomonas reinhardtii | user-specific | user-specific | Control Type | NFDI4PSO | http://purl.obolibrary.org/obo/NFDI4PSO_1000111 | 100 |  |  |  | logarithmic phase culture |  |  | 0.105 |  |  |  | 0 |  |  |  | 24 |  |  |  | 2 |  |  |  | 48 |  |  |  | CC-1690 |  |  | Tris-Acetate-Phosphate | user-specific | user-specific | 2903000 |  |  |  | 6.856 |  |  |  | 196.3 |  |  |  | 0.01285 |  |  |  | 0.15068 |  |  |  | cCL2
CL3 | 3 | user-specific | user-specific | Chlamydomonas reinhardtii | user-specific | user-specific | Control Type | NFDI4PSO | http://purl.obolibrary.org/obo/NFDI4PSO_1000111 | 100 |  |  |  | logarithmic phase culture |  |  | 0.105 |  |  |  | 0 |  |  |  | 24 |  |  |  | 2 |  |  |  | 48 |  |  |  | CC-1690 |  |  | Tris-Acetate-Phosphate | user-specific | user-specific | 3098000 |  |  |  | 6.63 |  |  |  | 187.2 |  |  |  | 0.0122 |  |  |  | 0.14188 |  |  |  | cCL3
HS1 | 1 | user-specific | user-specific | Chlamydomonas reinhardtii | user-specific | user-specific | warm/hot temperature exposure | PECO | http://purl.obolibrary.org/obo/PECO_0007173 | 50 |  |  |  | arrested | PATO | http://purl.obolibrary.org/obo/PATO_0000297 | 0.02 |  |  |  | 0 |  |  |  | 40 |  |  |  | 2 |  |  |  | 18 |  |  |  | CC-1690 |  |  | Tris-Acetate-Phosphate | user-specific | user-specific | 6262000 |  |  |  | 6.669 |  |  |  | 178.8 |  |  |  | 0.02076 |  |  |  | 0.21474 |  |  |  | cHS1
HS2 | 2 | user-specific | user-specific | Chlamydomonas reinhardtii | user-specific | user-specific | warm/hot temperature exposure | user-specific | user-specific | 50 |  |  |  | arrested |  |  | 0.02 |  |  |  | 0 |  |  |  | 40 |  |  |  | 2 |  |  |  | 18 |  |  |  | CC-1690 |  |  | Tris-Acetate-Phosphate | user-specific | user-specific | 5316000 |  |  |  | 6.618 |  |  |  | 173.7 |  |  |  | 0.01876 |  |  |  | 0.19919 |  |  |  | cHS2
HS3 | 3 | user-specific | user-specific | Chlamydomonas reinhardtii | user-specific | user-specific | warm/hot temperature exposure | user-specific | user-specific | 50 |  |  |  | arrested |  |  | 0.02 |  |  |  | 0 |  |  |  | 40 |  |  |  | 2 |  |  |  | 18 |  |  |  | CC-1690 |  |  | Tris-Acetate-Phosphate | user-specific | user-specific | 5327000 |  |  |  | 6.828 |  |  |  | 189.3 |  |  |  | 0.01887 |  |  |  | 0.20965 |  |  |  | cHS3
M1 | 1 | user-specific | user-specific | Chlamydomonas reinhardtii | user-specific | user-specific | high cell density | user-specific | user-specific | 100 |  |  |  | stationary phase culture |  |  | 0.02 |  |  |  | 0 |  |  |  | 24 |  |  |  | 2 |  |  |  | 24 |  |  |  | CC-1690 |  |  | Tris-Acetate-Phosphate | user-specific | user-specific | 12980000 |  |  |  | 6.061 |  |  |  | 137.1 |  |  |  | 0.04133 |  |  |  | 0.46283 |  |  |  | cM1
M2 | 2 | user-specific | user-specific | Chlamydomonas reinhardtii | user-specific | user-specific | high cell density | user-specific | user-specific | 100 |  |  |  | stationary phase culture |  |  | 0.02 |  |  |  | 0 |  |  |  | 24 |  |  |  | 2 |  |  |  | 24 |  |  |  | CC-1690 |  |  | Tris-Acetate-Phosphate | user-specific | user-specific | 13060000 |  |  |  | 5.785 |  |  |  | 118.6 |  |  |  | 0.041276 |  |  |  | 0.46311 |  |  |  | cM2
M3 | 3 | user-specific | user-specific | Chlamydomonas reinhardtii | user-specific | user-specific | high cell density | user-specific | user-specific | 100 |  |  |  | stationary phase culture |  |  | 0.02 |  |  |  | 0 |  |  |  | 24 |  |  |  | 2 |  |  |  | 24 |  |  |  | CC-1690 |  |  | Tris-Acetate-Phosphate | user-specific | user-specific | 10200000 |  |  |  | 6.491 |  |  |  | 170.4 |  |  |  | 0.042445 |  |  |  | 0.45803 |  |  |  | cM3
O1 | 1 | user-specific | user-specific | Chlamydomonas reinhardtii | user-specific | user-specific | no shaking | user-specific | user-specific | 100 |  |  |  | reduced growth |  |  | 0.04 |  |  |  | 0 |  |  |  | 24 |  |  |  | 0 |  |  |  | 48 |  |  |  | CC-1690 |  |  | Tris-Acetate-Phosphate | user-specific | user-specific | 5494000 |  |  |  | 6.08 |  |  |  | 131.1 |  |  |  | 0.013911 |  |  |  | 0.17728 |  |  |  | cO1
O2 | 2 | user-specific | user-specific | Chlamydomonas reinhardtii | user-specific | user-specific | no shaking | user-specific | user-specific | 100 |  |  |  | reduced growth |  |  | 0.04 |  |  |  | 0 |  |  |  | 24 |  |  |  | 0 |  |  |  | 48 |  |  |  | CC-1690 |  |  | Tris-Acetate-Phosphate | user-specific | user-specific | 5096000 |  |  |  | 6.175 |  |  |  | 137 |  |  |  | 0.012592 |  |  |  | 0.16145 |  |  |  | cO2
O3 | 3 | user-specific | user-specific | Chlamydomonas reinhardtii | user-specific | user-specific | no shaking | user-specific | user-specific | 100 |  |  |  | reduced growth |  |  | 0.04 |  |  |  | 0 |  |  |  | 24 |  |  |  | 0 |  |  |  | 48 |  |  |  | CC-1690 |  |  | Tris-Acetate-Phosphate | user-specific | user-specific | 4929000 |  |  |  | 6.115 |  |  |  | 131.6 |  |  |  | 0.010393 |  |  |  | 0.13318 |  |  |  | cO3
F1 | 1 | user-specific | user-specific | Chlamydomonas reinhardtii | user-specific | user-specific | dark | user-specific | user-specific | 0 |  |  |  | stationary phase culture |  |  | 0.02 |  |  |  | 0 |  |  |  | 21 |  |  |  | 0 |  |  |  | 48 |  |  |  | CC-1690 |  |  | Tris-Acetate-Phosphate | user-specific | user-specific | 15890000 |  |  |  | 5.685 |  |  |  | 112.8 |  |  |  | 0.048762 |  |  |  | 0.37576 |  |  |  | cF1
F2 | 2 | user-specific | user-specific | Chlamydomonas reinhardtii | user-specific | user-specific | dark | user-specific | user-specific | 0 |  |  |  | stationary phase culture |  |  | 0.02 |  |  |  | 0 |  |  |  | 21 |  |  |  | 0 |  |  |  | 48 |  |  |  | CC-1690 |  |  | Tris-Acetate-Phosphate | user-specific | user-specific | 14640000 |  |  |  | 5.711 |  |  |  | 114.8 |  |  |  | 0.04575 |  |  |  | 0.3523 |  |  |  | cF2
F3 | 3 | user-specific | user-specific | Chlamydomonas reinhardtii | user-specific | user-specific | dark | user-specific | user-specific | 0 |  |  |  | stationary phase culture |  |  | 0.02 |  |  |  | 0 |  |  |  | 21 |  |  |  | 0 |  |  |  | 48 |  |  |  | CC-1690 |  |  | Tris-Acetate-Phosphate | user-specific | user-specific | 15750000 |  |  |  | 5.673 |  |  |  | 111.7 |  |  |  | 0.048178 |  |  |  | 0.35965 |  |  |  | cF3
S1 | 1 | user-specific | user-specific | Chlamydomonas reinhardtii | user-specific | user-specific | sodium chloride exposure | PECO | http://purl.obolibrary.org/obo/PECO_0007048 | 100 |  |  |  | arrested | PATO | http://purl.obolibrary.org/obo/PATO_0000297 | 0.02 |  |  |  | 125 |  |  |  | 24 |  |  |  | 2 |  |  |  | 18 |  |  |  | CC-1690 |  |  | Tris-Acetate-Phosphate | user-specific | user-specific | 3962000 |  |  |  | 8.458 |  |  |  | 362.3 |  |  |  | 0.017024 |  |  |  | 0.19919 |  |  |  | cS1
S2 | 2 | user-specific | user-specific | Chlamydomonas reinhardtii | user-specific | user-specific | sodium chloride exposure | user-specific | user-specific | 100 |  |  |  | arrested |  |  | 0.02 |  |  |  | 125 |  |  |  | 24 |  |  |  | 2 |  |  |  | 18 |  |  |  | CC-1690 |  |  | Tris-Acetate-Phosphate | user-specific | user-specific | 4014000 |  |  |  | 8.816 |  |  |  | 405.1 |  |  |  | 0.020096 |  |  |  | 0.20965 |  |  |  | cS2
S3 | 3 | user-specific | user-specific | Chlamydomonas reinhardtii | user-specific | user-specific | sodium chloride exposure | user-specific | user-specific | 100 |  |  |  | arrested |  |  | 0.02 |  |  |  | 125 |  |  |  | 24 |  |  |  | 2 |  |  |  | 18 |  |  |  | CC-1690 |  |  | Tris-Acetate-Phosphate | user-specific | user-specific | 3995000 |  |  |  | 8.645 |  |  |  | 386.7 |  |  |  | 0.018346 |  |  |  | 0.19014 |  |  |  | cS3

## StandardMixing
Source Name | Characteristics [Protein reference] | Term Source REF () | Term Accession Number () | Characteristics [modification parameters] | Term Source REF (MS:1001055) | Term Accession Number (MS:1001055) | Characteristics [Volume] | Unit | Term Source REF (NFDI4PSO:1000154) | Term Accession Number (NFDI4PSO:1000154) | Characteristics [concentration unit] | Unit (#2) | Term Source REF (UO:0000051) | Term Accession Number (UO:0000051) | Sample Name
PS g1 | PS g1 | user-specific | user-specific | metabolic labelling: heavy N (mainly 15N) | MS | http://purl.obolibrary.org/obo/MS_1002068 | 32.5949 | microliter | UO | http://purl.obolibrary.org/obo/UO_0000101 | 0.066912 | milligram per milliliter | UO | http://purl.obolibrary.org/obo/UO_0000176 | Qmaster
cbb g1 | cbb g1 | user-specific | user-specific | metabolic labelling: heavy N (mainly 15N) | MS | http://purl.obolibrary.org/obo/MS_1002068 | 36.792 | microliter | UO | http://purl.obolibrary.org/obo/UO_0000101 | 0.071116 | milligram per milliliter | UO | http://purl.obolibrary.org/obo/UO_0000176 | Qmaster
3 cp2 | 3 cp2 | user-specific | user-specific | metabolic labelling: heavy N (mainly 15N) | MS | http://purl.obolibrary.org/obo/MS_1002068 | 23.2837 | microliter | UO | http://purl.obolibrary.org/obo/UO_0000101 | 0.068948 | milligram per milliliter | UO | http://purl.obolibrary.org/obo/UO_0000176 | Qmaster
4 cp3 | 4 cp3 | user-specific | user-specific | metabolic labelling: heavy N (mainly 15N) | MS | http://purl.obolibrary.org/obo/MS_1002068 | 28.1056 | microliter | UO | http://purl.obolibrary.org/obo/UO_0000101 | 0.054152 | milligram per milliliter | UO | http://purl.obolibrary.org/obo/UO_0000176 | Qmaster
5 cp4 | 5 cp4 | user-specific | user-specific | metabolic labelling: heavy N (mainly 15N) | MS | http://purl.obolibrary.org/obo/MS_1002068 | 21.0566 | microliter | UO | http://purl.obolibrary.org/obo/UO_0000101 | 0.065297 | milligram per milliliter | UO | http://purl.obolibrary.org/obo/UO_0000176 | Qmaster
6 cp5 | 6 cp5 | user-specific | user-specific | metabolic labelling: heavy N (mainly 15N) | MS | http://purl.obolibrary.org/obo/MS_1002068 | 24.8929 | microliter | UO | http://purl.obolibrary.org/obo/UO_0000101 | 0.057555 | milligram per milliliter | UO | http://purl.obolibrary.org/obo/UO_0000176 | Qmaster
7 cp6 | 7 cp6 | user-specific | user-specific | metabolic labelling: heavy N (mainly 15N) | MS | http://purl.obolibrary.org/obo/MS_1002068 | 23.5205 | microliter | UO | http://purl.obolibrary.org/obo/UO_0000101 | 0.074588 | milligram per milliliter | UO | http://purl.obolibrary.org/obo/UO_0000176 | Qmaster
8 cp7 | 8 cp7 | user-specific | user-specific | metabolic labelling: heavy N (mainly 15N) | MS | http://purl.obolibrary.org/obo/MS_1002068 | 20.5452 | microliter | UO | http://purl.obolibrary.org/obo/UO_0000101 | 0.06122 | milligram per milliliter | UO | http://purl.obolibrary.org/obo/UO_0000176 | Qmaster
iRTsciex | iRTsciex | user-specific | user-specific | unlabelled | user-specific | user-specific | 17.1821 | microliter | UO | http://purl.obolibrary.org/obo/UO_0000101 | 0.1 | milligram per milliliter | UO | http://purl.obolibrary.org/obo/UO_0000176 | Qmaster
9 cp1C | 9 cp1C | user-specific | user-specific | metabolic labelling: heavy N (mainly 15N) | MS | http://purl.obolibrary.org/obo/MS_1002068 | 11.763 | microliter | UO | http://purl.obolibrary.org/obo/UO_0000101 | 0.17057 | milligram per milliliter | UO | http://purl.obolibrary.org/obo/UO_0000176 | Qmaster
10cp1N | 10cp1N | user-specific | user-specific | metabolic labelling: heavy N (mainly 15N) | MS | http://purl.obolibrary.org/obo/MS_1002068 | 25.85 | microliter | UO | http://purl.obolibrary.org/obo/UO_0000101 | 0.067119 | milligram per milliliter | UO | http://purl.obolibrary.org/obo/UO_0000176 | Qmaster
BSA | BSA | user-specific | user-specific | unlabelled | user-specific | user-specific | 36.036 | microliter | UO | http://purl.obolibrary.org/obo/UO_0000101 | 0.1 | milligram per milliliter | UO | http://purl.obolibrary.org/obo/UO_0000176 | Qmaster
UPS2 | UPS2 | user-specific | user-specific | unlabelled | user-specific | user-specific | 50 | microliter | UO | http://purl.obolibrary.org/obo/UO_0000101 | 0.212 | milligram per milliliter | UO | http://purl.obolibrary.org/obo/UO_0000176 | UPS2
µg pro ampulle
[5 empty] | 10.6 | 1.06

## SamplePreparation
Source Name | Characteristics [protein amount] | Unit | Term Source REF () | Term Accession Number () | Characteristics [Volume] | Unit (#2) | Term Source REF (NFDI4PSO:1000154) | Term Accession Number (NFDI4PSO:1000154) | Parameter [in-solution digestion] | Term Source REF (MS:1002986) | Term Accession Number (MS:1002986) | Sample Name
cCL1 | 25 | [7 empty] | standard protocol | user-specific | user-specific | pCL1
Qmaster |  |  |  |  | 12.5676 |  |  |  | standard protocol |  |  | pCL1
UPS2 |  |  |  |  | 5 |  |  |  | standard protocol |  |  | pCL1
cCL2 | 25 | [7 empty] | standard protocol |  |  | pCL2
Qmaster |  |  |  |  | 12.5676 |  |  |  | standard protocol |  |  | pCL2
UPS2 |  |  |  |  | 5 |  |  |  | standard protocol |  |  | pCL2
cCL3 | 25 | [7 empty] | standard protocol |  |  | pCL3
Qmaster |  |  |  |  | 12.5676 |  |  |  | standard protocol |  |  | pCL3
UPS2 |  |  |  |  | 5 |  |  |  | standard protocol |  |  | pCL3
cHS1 | 25 | [7 empty] | standard protocol |  |  | pHS1
Qmaster |  |  |  |  | 12.5676 |  |  |  | standard protocol |  |  | pHS1
UPS2 |  |  |  |  | 5 |  |  |  | standard protocol |  |  | pHS1
cHS2 | 25 | [7 empty] | standard protocol |  |  | pHS2
Qmaster |  |  |  |  | 12.5676 |  |  |  | standard protocol |  |  | pHS2
UPS2 |  |  |  |  | 5 |  |  |  | standard protocol |  |  | pHS2
cHS3 | 25 | [7 empty] | standard protocol |  |  | pHS3
Qmaster |  |  |  |  | 12.5676 |  |  |  | standard protocol |  |  | pHS3
UPS2 |  |  |  |  | 5 |  |  |  | standard protocol |  |  | pHS3
cM1 | 25 | [7 empty] | standard protocol |  |  | pM1
Qmaster |  |  |  |  | 12.5676 |  |  |  | standard protocol |  |  | pM1
cM2 | 25 | [7 empty] | standard protocol |  |  | pM2
Qmaster |  |  |  |  | 12.5676 |  |  |  | standard protocol |  |  | pM2
cM3 | 25 | [7 empty] | standard protocol |  |  | pM3
Qmaster |  |  |  |  | 12.5676 |  |  |  | standard protocol |  |  | pM3
cO1 | 25 | [7 empty] | standard protocol |  |  | pO1
Qmaster |  |  |  |  | 12.5676 |  |  |  | standard protocol |  |  | pO1
cO2 | 25 | [7 empty] | standard protocol |  |  | pO2
Qmaster |  |  |  |  | 12.5676 |  |  |  | standard protocol |  |  | pO2
cO3 | 25 | [7 empty] | standard protocol |  |  | pO3
Qmaster |  |  |  |  | 12.5676 |  |  |  | standard protocol |  |  | pO3
cF1 | 25 | [7 empty] | standard protocol |  |  | pF1
Qmaster |  |  |  |  | 12.5676 |  |  |  | standard protocol |  |  | pF1
cF2 | 25 | [7 empty] | standard protocol |  |  | pF2
Qmaster |  |  |  |  | 12.5676 |  |  |  | standard protocol |  |  | pF2
cF3 | 25 | [7 empty] | standard protocol |  |  | pF3
Qmaster |  |  |  |  | 12.5676 |  |  |  | standard protocol |  |  | pF3
cS1 | 25 | [7 empty] | standard protocol |  |  | pS1
Qmaster |  |  |  |  | 12.5676 |  |  |  | standard protocol |  |  | pS1
cS2 | 25 | [7 empty] | standard protocol |  |  | pS2
Qmaster |  |  |  |  | 12.5676 |  |  |  | standard protocol |  |  | pS2
cS3 | 25 | [7 empty] | standard protocol |  |  | pS3
Qmaster |  |  |  |  | 12.5676 |  |  |  | standard protocol |  |  | pS3
Qmaster |  |  |  |  | 12.5676 |  |  |  | standard protocol |  |  | QU
UPS2 |  |  |  |  | 5 |  |  |  | standard protocol |  |  | QU

## MassSpectrometry
Source Name | Factor [technical replicate] | Term Source REF (MS:1001808) | Term Accession Number (MS:1001808) | Parameter [instrument model] | Term Source REF (MS:1000031) | Term Accession Number (MS:1000031) | Parameter [acquisition parameter] | Term Source REF (MS:1001954) | Term Accession Number (MS:1001954) | Sample Name
pHS1 | 1 |  |  | TripleTOF 6600 | MS | http://purl.obolibrary.org/obo/MS_1002533 | fs IDA 120min 50_ul.dam |  |  | 20211216MS231TMqcond001.wiff
pHS2 | 1 |  |  | TripleTOF 6600 |  |  | fs IDA 120min 50_ul.dam |  |  | 20211216MS231TMqcond002.wiff
pHS3 | 1 |  |  | TripleTOF 6600 |  |  | fs IDA 120min 50_ul.dam |  |  | 20211216MS231TMqcond003.wiff
pCL1 | 1 |  |  | TripleTOF 6600 |  |  | fs IDA 120min 50_ul.dam |  |  | 20211216MS231TMqcond004.wiff
pCL2 | 1 |  |  | TripleTOF 6600 |  |  | fs IDA 120min 50_ul.dam |  |  | 20211216MS231TMqcond005.wiff
pCL3 | 1 |  |  | TripleTOF 6600 |  |  | fs IDA 120min 50_ul.dam |  |  | 20211216MS231TMqcond006.wiff
pM1 | 1 |  |  | TripleTOF 6600 |  |  | fs IDA 120min 50_ul.dam |  |  | 20211216MS231TMqcond007.wiff
pM2 | 1 |  |  | TripleTOF 6600 |  |  | fs IDA 120min 50_ul.dam |  |  | 20211216MS231TMqcond008.wiff
pM3 | 1 |  |  | TripleTOF 6600 |  |  | fs IDA 120min 50_ul.dam |  |  | 20211216MS231TMqcond009.wiff
pO1 | 1 |  |  | TripleTOF 6600 |  |  | fs IDA 120min 50_ul.dam |  |  | 20211216MS231TMqcond010.wiff
pO2 | 1 |  |  | TripleTOF 6600 |  |  | fs IDA 120min 50_ul.dam |  |  | 20211216MS231TMqcond011.wiff
pO3 | 1 |  |  | TripleTOF 6600 |  |  | fs IDA 120min 50_ul.dam |  |  | 20211216MS231TMqcond012.wiff
pF1 | 1 |  |  | TripleTOF 6600 |  |  | fs IDA 120min 50_ul.dam |  |  | 20211216MS231TMqcond013.wiff
pF2 | 1 |  |  | TripleTOF 6600 |  |  | fs IDA 120min 50_ul.dam |  |  | 20211216MS231TMqcond014.wiff
pF3 | 1 |  |  | TripleTOF 6600 |  |  | fs IDA 120min 50_ul.dam |  |  | 20211216MS231TMqcond015.wiff
pS1 | 1 |  |  | TripleTOF 6600 |  |  | fs IDA 120min 50_ul.dam |  |  | 20211216MS231TMqcond016.wiff
pS2 | 1 |  |  | TripleTOF 6600 |  |  | fs IDA 120min 50_ul.dam |  |  | 20211216MS231TMqcond017.wiff
pS3 | 1 |  |  | TripleTOF 6600 |  |  | fs IDA 120min 50_ul.dam |  |  | 20211216MS231TMqcond018.wiff
QU | 1 |  |  | TripleTOF 6600 |  |  | fs IDA 120min 50_ul.dam |  |  | DataSET11.wiff
pHS1 | 2 |  |  | TripleTOF 6600 |  |  | fs IDA 120min 50_ul.dam |  |  | 20211216MS231TMqcond101.wiff
pHS2 | 2 |  |  | TripleTOF 6600 |  |  | fs IDA 120min 50_ul.dam |  |  | 20211216MS231TMqcond102.wiff
pHS3 | 2 |  |  | TripleTOF 6600 |  |  | fs IDA 120min 50_ul.dam |  |  | 20211216MS231TMqcond103.wiff
pCL1 | 2 |  |  | TripleTOF 6600 |  |  | fs IDA 120min 50_ul.dam |  |  | 20211216MS231TMqcond104.wiff
pCL2 | 2 |  |  | TripleTOF 6600 |  |  | fs IDA 120min 50_ul.dam |  |  | 20211216MS231TMqcond105.wiff
pCL3 | 2 |  |  | TripleTOF 6600 |  |  | fs IDA 120min 50_ul.dam |  |  | 20211216MS231TMqcond106.wiff
pM1 | 2 |  |  | TripleTOF 6600 |  |  | fs IDA 120min 50_ul.dam |  |  | 20211216MS231TMqcond107.wiff
pM2 | 2 |  |  | TripleTOF 6600 |  |  | fs IDA 120min 50_ul.dam |  |  | 20211216MS231TMqcond108.wiff
pM3 | 2 |  |  | TripleTOF 6600 |  |  | fs IDA 120min 50_ul.dam |  |  | 20211216MS231TMqcond109.wiff
pO1 | 2 |  |  | TripleTOF 6600 |  |  | fs IDA 120min 50_ul.dam |  |  | 20211216MS231TMqcond110.wiff
pO2 | 2 |  |  | TripleTOF 6600 |  |  | fs IDA 120min 50_ul.dam |  |  | 20211216MS231TMqcond111.wiff
pO3 | 2 |  |  | TripleTOF 6600 |  |  | fs IDA 120min 50_ul.dam |  |  | 20211216MS231TMqcond112.wiff
pF1 | 2 |  |  | TripleTOF 6600 |  |  | fs IDA 120min 50_ul.dam |  |  | 20211216MS231TMqcond113.wiff
pF2 | 2 |  |  | TripleTOF 6600 |  |  | fs IDA 120min 50_ul.dam |  |  | 20211216MS231TMqcond114.wiff
pF3 | 2 |  |  | TripleTOF 6600 |  |  | fs IDA 120min 50_ul.dam |  |  | 20211216MS231TMqcond115.wiff
pS1 | 2 |  |  | TripleTOF 6600 |  |  | fs IDA 120min 50_ul.dam |  |  | 20211216MS231TMqcond116.wiff
pS2 | 2 |  |  | TripleTOF 6600 |  |  | fs IDA 120min 50_ul.dam |  |  | 20211216MS231TMqcond117.wiff
pS3 | 2 |  |  | TripleTOF 6600 |  |  | fs IDA 120min 50_ul.dam |  |  | 20211216MS231TMqcond118.wiff
QU | 1 |  |  | TripleTOF 6601 |  |  | fs SW40 120min 50ul.dam |  |  | 20211216MS230TMqtestSW001.wiff
pHS1 | 1 |  |  | TripleTOF 6602 |  |  | fs SW40 120min 50ul.dam |  |  | 20211216MS231TMqcondSW001.wiff
pHS2 | 1 |  |  | TripleTOF 6603 |  |  | fs SW40 120min 50ul.dam |  |  | 20211216MS231TMqcondSW002.wiff
pHS3 | 1 |  |  | TripleTOF 6604 |  |  | fs SW40 120min 50ul.dam |  |  | 20211216MS231TMqcondSW003.wiff
pCL1 | 1 |  |  | TripleTOF 6605 |  |  | fs SW40 120min 50ul.dam |  |  | 20211216MS231TMqcondSW004.wiff
pCL2 | 1 |  |  | TripleTOF 6606 |  |  | fs SW40 120min 50ul.dam |  |  | 20211216MS231TMqcondSW005.wiff
pCL3 | 1 |  |  | TripleTOF 6607 |  |  | fs SW40 120min 50ul.dam |  |  | 20211216MS231TMqcondSW006.wiff
pM1 | 1 |  |  | TripleTOF 6608 |  |  | fs SW40 120min 50ul.dam |  |  | 20211216MS231TMqcondSW007.wiff
pM2 | 1 |  |  | TripleTOF 6609 |  |  | fs SW40 120min 50ul.dam |  |  | 20211216MS231TMqcondSW008.wiff
pM3 | 1 |  |  | TripleTOF 6610 |  |  | fs SW40 120min 50ul.dam |  |  | 20211216MS231TMqcondSW009.wiff
pO1 | 1 |  |  | TripleTOF 6611 |  |  | fs SW40 120min 50ul.dam |  |  | 20211216MS231TMqcondSW010.wiff
pO2 | 1 |  |  | TripleTOF 6612 |  |  | fs SW40 120min 50ul.dam |  |  | 20211216MS231TMqcondSW011.wiff
pO3 | 1 |  |  | TripleTOF 6613 |  |  | fs SW40 120min 50ul.dam |  |  | 20211216MS231TMqcondSW012.wiff
pF1 | 1 |  |  | TripleTOF 6614 |  |  | fs SW40 120min 50ul.dam |  |  | 20211216MS231TMqcondSW013.wiff
pF2 | 1 |  |  | TripleTOF 6615 |  |  | fs SW40 120min 50ul.dam |  |  | 20211216MS231TMqcondSW014.wiff
pF3 | 1 |  |  | TripleTOF 6616 |  |  | fs SW40 120min 50ul.dam |  |  | 20211216MS231TMqcondSW015.wiff
pS1 | 1 |  |  | TripleTOF 6617 |  |  | fs SW40 120min 50ul.dam |  |  | 20211216MS231TMqcondSW016.wiff
pS2 | 1 |  |  | TripleTOF 6618 |  |  | fs SW40 120min 50ul.dam |  |  | 20211216MS231TMqcondSW017.wiff
pS3 | 1 |  |  | TripleTOF 6619 |  |  | fs SW40 120min 50ul.dam |  |  | 20211216MS231TMqcondSW018.wiff
Note on K20: dieses File könnte auch "QProtAlone" heißen